ADDENDUM #1

May 24,2021

TO: ALL POTENTIAL BIDDERS  
FROM: JOSH MEASE, MAINTENANCE DIRECTOR

SUBJECT: Old Central Elementary K/1 Building Rooftop Unit Replacement

(RFP# 16-21)

The following specifications are hereby made a part of the original documents. Bidders shall acknowledge receipt of this addendum by notation in the space provided on the Proposal Form.

Addendum includes: Alternate Bid, Plans of Building, Fire Alarm Tie In and New Thermostat Wire

Addendum #1

RFP# 16-21

ADDENDUM to RFP# 16-21

Old Central Elementary K/1 Building Rooftop Unit Replacement

Include:

* New wire is to be installed from thermostats to rooftop unit
* Fire Alarm needs to be integrated with rooftop unit
* Alternate Bid for Air Balance Test once unit is installed
* Plans of K/1 building will be provided

If there are any questions, please call Adam Robinson at (828) 508-4986.